## HVAC_ENERGY
REFERENCE_ID | DESIGNATION_NORMALISEE | RAW_DESIGNATION | TYPE_HVAC | PUISSANCE_KW_ESTIMEE | COP_ESTIME | FOURNITURE_INSTALLATION_CLASS | CONFIDENCE_LEVEL | COCKPIT_CONFIDENCE_BADGE | TECHNICAL_VALIDATION_STATUS | TECHNICAL_VALIDATION_REASON | ENERGY_RISK_SCORE | ANNUAL_KWH_ESTIMATE | INVERTER_DETECTED
SP2I-HVA-33F8FEFF | GAINE TPC Ø110 ROULEAU 25M | Gaine TPC Ø110 rouleau 25m | CONDUITS | 0 | 2.8 | INSTALLATION_HVAC | LOW | RED | PARTIAL | coherence technique HVAC acceptable | HIGH | 0 | NO
SP2I-HVA-9A0D5D5D | GAINE ICTA 20MM ROULEAU 100M | Gaine ICTA 20mm rouleau 100m | VENTILATION | 0 | 2.8 | INSTALLATION_HVAC | LOW | RED | PARTIAL | coherence technique HVAC acceptable | HIGH | 0 | NO
SP2I-HVA-3AD9476C | GAINE TETE DE LIT | Gaine tête de lit | CONDUITS | 0 | 2.8 | INSTALLATION_HVAC | LOW | RED | PARTIAL | coherence technique HVAC acceptable | HIGH | 0 | NO
SP2I-HVA-33F8FEFF | GAINE TPC Ø110 ROULEAU 25M | Gaine TPC Ø110 rouleau 25m | CONDUITS | 0 | 2.8 | INSTALLATION_HVAC | LOW | RED | PARTIAL | coherence technique HVAC acceptable | HIGH | 0 | NO
SP2I-HVA-4C8D4093 | CLIMATISEUR SPLIT 1.25CV WHIRLPOOL AMD024 | Climatiseur SPLIT 1.25CV Whirlpool AMD024 | SPLIT_MURAL | 0.919 | 3.2 | FOURNITURE_HVAC | MEDIUM | ORANGE | VERIFIED | coherence technique HVAC acceptable | LOW | 632.07 | NO
SP2I-HVA-334E81AA | CLIMATISEUR SPLIT 5KW WHIRLPOOL AMD026 | Climatiseur SPLIT 5KW Whirlpool AMD026 | SPLIT_MURAL | 5 | 3.2 | FOURNITURE_HVAC | MEDIUM | ORANGE | PARTIAL | ratio puissance/prix trop faible | LOW | 3437.5 | NO
SP2I-HVA-E7659D43 | CLIMATISEUR SPLIT 7KW WHIRLPOOL AMD027 | Climatiseur SPLIT 7KW Whirlpool AMD027 | SPLIT_MURAL | 7 | 3.2 | FOURNITURE_HVAC | MEDIUM | ORANGE | PARTIAL | ratio puissance/prix trop faible | LOW | 4812.5 | NO
SP2I-HVA-9DEC9609 | HOTTE ASPIRANTE WHIRLPOOL AKR439 | Hotte aspirante Whirlpool AKR439 | SPLIT_MURAL | 0 | 3.2 | INSTALLATION_HVAC | MEDIUM | ORANGE | PARTIAL | puissance absente | HIGH | 0 | NO